Notes form Jubileum Residents Meeting

Date: 5 October 2024

Venue: Jubileum Street.

- Reservoir, Escort, Jubileum, River

  - Flooding in the area due to stormwater

  - Road Stormwater issues area in Yellow

  - Consent needed from erf 1361

1 white – Stormwater trench to be dug to assist with water flow

2 blue – Concrete drainage channel

3 red – road repair

4 green – stormwater sloot

- Jubileum

  - Flooding in the area due to stormwater

  - Road Stormwater issues area in Yellow

  - Consent needed from erf 389

1 white – Stormwater trench to be dug to assist with water flow

2 blue – Concrete drainage channel

3 red – road repair

4 green – pipe over lay water

- Greed in meeting

  - Work will commence 6 November

  - Trenchers will commence 6 November

  - Deon Wasserman will get consent from owners where needed

  - Dates of other work to be provided as soon as possible.

- Other roads identified in the broader Napier

  - Trenchers need to be done at same time while digger in Napier for Pine Road and others if needed.